## MCB Specifications
Manufacturer | Series | Variant ID | Variant Name | Segment | Rated Current (In) | Breaking Capacity (Icn) | Ics (Service Breaking Capacity) | Poles | Trip Curve | Rated Voltage (Ue) | Standards | Width per Pole | Best Value Tag
schneider-electric | Resi9 |  |  | residential | 6-63A | Icn: 6kA @230/400V | 100% Icn (6kA) | 1P, 2P | B, C | 230/400V AC | IEC 60898-1 | 18mm | No
schneider-electric | Resi9 |  |  | residential | 6-40A | Icn: 4.5kA @230/400V | 100% Icn (4.5kA) | 1P+N | B, C | 230/400V AC | IEC 60898-1 | 18mm | No
schneider-electric | Easy9 |  |  | residential | 6-63A | Icn: 4.5kA @230/400V | 100% Icn | 1P, 2P, 3P, 4P | B, C | 230/400V AC | IEC 60898-1 | 18mm | No
schneider-electric | Easy9 |  |  | residential | 6-63A | Icn: 6kA @230/400V | 100% Icn | 1P, 2P, 3P, 4P | B, C | 230/400V AC | IEC 60898-1 | 18mm | No
schneider-electric | Easy9 |  |  | residential | 3-50A | Icn: 6kA @230/400V | 100% Icn | 1P+N | B, C | 230/400V AC | IEC 60898-1, EN 61009-1 | 18mm | No
schneider-electric | Easy9 Pro |  |  | residential | 6-63A | Icn: 6kA @240/415V | - | 1P, 2P, 3P, 4P | B, C | 240/415V AC | IEC 60898-1 | 18mm | No
schneider-electric | Easy9 Pro |  |  | residential | 6-63A | Icn: 10kA @240/415V | - | 1P, 2P, 3P, 4P | B, C | 240/415V AC | IEC 60898-1 | 18mm | No
schneider-electric | Easy9 Pro |  |  | residential | 6-63A | Icn: 10kA, Icu: 10kA @240/415V | 75% Icu | 1P, 2P, 3P, 4P | B, C | 240/415V AC | IEC 60898-1, IEC 60947-2 | 18mm | No
schneider-electric | Domae |  |  | residential | 6-63A | Icn: 6kA @230/400V | 100% Icn (6kA) | 1P, 2P, 3P | B, C | 230/400V AC | IEC 60898-1 | 18mm | No
schneider-electric | Domae |  |  | residential | 6-63A | Icn: 4.5kA @230/400V | 100% Icn (4.5kA) | 1P, 2P, 3P | B, C | 230/400V AC | IEC 60898-1 | 18mm | No